{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["截止2019.10月全校气瓶排查","兼容性报表"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"截止2019.10月全校气瓶排查","index":0,"n_rows":217,"n_cols":11,"rows_kept":217,"merged":[[0,0,0,10]],"flags":["formulas_cached_only"]}
["安徽建筑大学实验室气体钢瓶台账表"]
["序号 ","现场标签号","品种","制造日期","投用日期","归属实验室","存放场所","设备使用状况","设备操作责任人","是否配备防倾倒设施","报废处置"]
[1,1,"高纯氦",2015.12,"2018.09","安全实验室","土木楼2210","正常","肖峻峰","否","建议报废"]
[2,2,"高纯氮",2012.11,"2017.11","安全实验室","土木楼2210","正常","肖峻峰","否","建议报废"]
[3,3,"高纯氧",2016.05,"2018.02","安全实验室","土木楼2210","正常","肖峻峰","否","建议报废"]
[4,4,"高纯氦",2015.12,"2018.09","安全实验室","土木楼2210","正常","肖峻峰","否","建议报废"]
[5,5,"高纯氮",2016.06,"2018.01","安全实验室","土木楼2211","正常","肖峻峰","否","建议报废"]
[6,6,"高纯氧",2009.1,"2010.05","安全实验室","土木楼2211","正常","肖峻峰","否","建议报废"]
[7,7,"瓦斯（甲烷）",2006.1,"2010.04","安全实验室","土木楼2212","正常","肖峻峰","否","建议报废"]
[8,8,"氮气",2004.9,"2018.12.25","水污染控制重点实验室","西辅楼3503","正常","李卫华","是","建议报废"]
[9,9,"氦气",2012.2,2015.9,"水污染控制重点实验室","西辅楼3504","正常","李卫华","是","建议报废"]
[10,12,"氮气",2016.9,"不详","水污染控制重点实验室","西辅楼3503","正常","李卫华","是","建议报废"]
[11,13,"氧气钢瓶","不详","不详","化工专业实验室","C101","在用","葛业君","是","建议报废"]
[12,14,"二氧化碳钢瓶","不详","不详","化工专业实验室","C101","在用","葛业君","是","建议报废"]
[13,15,"氧气钢瓶",2007.5,"不详","化工专业实验室","C102","在用","金杰","是","建议报废"]
[14,16,"氧气钢瓶",2016.2,"不详","化工专业实验室","C102","在用","王亚琴","是","建议报废"]
[15,17,"氮气钢瓶",2008.5,"不详","化工专业实验室","C102","在用","金杰","是","建议报废"]
[16,18,"氢气钢瓶",2017.2,2017.5,"化工专业实验室","C102","在用","金杰","是"]
[17,19,"甲烷钢瓶",2009,"不详","化工专业实验室","C102","在用","陈霞","是","建议报废"]
[18,20,"氮气钢瓶","不详",2014.3,"化工专业实验室","C102","在用","陈霞","是","建议报废"]
[19,21,"二氧化碳钢瓶",2017.8,"不详","化工专业实验室","C102","在用","陈霞","是"]
[20,22,"氮气钢瓶",2012.8,"不详","化工专业实验室","C102","在用","陈霞","是","建议报废"]
[21,23,"氮气钢瓶","不详","不详","化工专业实验室","C102","在用","王亚琴","是","建议报废"]
[22,24,"氮气钢瓶","不详","不详","化工专业实验室","C102","在用","王亚琴","是","建议报废"]
[23,25,"氢气钢瓶","不详","不详","化工综合实验室","C110","在用","葛业君","是","建议报废"]
[24,26,"二氧化碳钢瓶","不详","不详","化工综合实验室","C110","在用","葛业君","是","建议报废"]
[25,27,"二氧化碳钢瓶","不详","不详","化工综合实验室","C110","在用","陈霞","是","建议报废"]
[26,28,"二氧化碳钢瓶","不详","不详","化工综合实验室","C110","在用","王亚琴","是","建议报废"]
[27,29,"氧气钢瓶",2011,"不详","基础化学实验室","C209","报废",null,"是","报废"]
[28,30,"氧气钢瓶",2001,"不详","基础化学实验室","C209","在用","谢蓉","是","建议报废"]
[29,32,"气体钢瓶（氮气）","不详","不详","应化专业实验室","C306","报废",null,"否","报废"]
[30,33,"气体钢瓶（氮气）","不详","不详","应化专业实验室","C506","报废",null,"否","报废"]
[31,34,"氮气钢瓶","不详","不详","基础化学实验室","C503","报废",null,"否","报废"]
[32,35,"氮气钢瓶","不详",2008,"仪器分析实验室",3103,"在用","王颖","是","建议报废"]
[33,36,"氮气钢瓶","不详",2007,"仪器分析实验室",3103,"在用","王颖","是","建议报废"]
[34,37,"氮气钢瓶",2013.7,"不详","仪器分析实验室",3103,"报废","王颖","是","报废"]
[35,38,"氮气钢瓶",2015.9,"不详","仪器分析实验室",3103,"报废","王颖","是","报废"]
[36,39,"空气钢瓶",2014.4,2018.1,"仪器分析实验室",3103,"在用","王颖","是","建议报废"]
[37,40,"氧气钢瓶",{"v":2016.1,"d":"2016.10"},2019.3,"仪器分析实验室",3103,"在用","王颖","是","建议报废"]
[38,41,"氢气钢瓶",2017.11,2019.5,"仪器分析实验室",3103,"在用","王颖","是"]
[39,42,"氮气钢瓶","不详","不详","仪器分析实验室","C412","报废",null,"是","报废"]
[40,43,"氮气钢瓶",2013.8,"不详","仪器分析实验室","C412","报废",null,"是","报废"]
[41,44,"空气钢瓶","不详","不详","仪器分析实验室","C412","报废",null,"是","报废"]
[42,45,"氮气钢瓶",2018.7,2019.1,"基础化学实验室","理化楼C207","在用","陈晓明","是"]
[43,46,"氮气钢瓶",2017.3,2018.1,"西辅楼3207","西辅楼3207","在用","孔维丽","是"]
[44,47,"氮气钢瓶",2016.3,2017.3,"现代分析测试中心","西辅楼3101","在用","胡坤","否","建议报废"]
[45,48,"氮气钢瓶",2018.8,"不详","现代分析测试中心","西辅楼3101","在用","解文杰","否"]
[46,49,"空气钢瓶",2011.4,"不详","功能高分子与有机化学研究一室","西辅楼3303","在用","刘瑾","是","建议报废"]
[47,50,"氮气钢瓶",2015.12,2019.1,"功能高分子与有机化学研究一室","西辅楼3303","在用","刘瑾","是","建议报废"]
[48,51,"氢气钢瓶","不详",2002,"功能高分子与有机化学研究一室","西辅楼3303","在用","刘瑾","是","建议报废"]
[49,52,"二氧化碳钢瓶",2014.9,"2014.10","功能高分子与有机化学研究一室","西辅楼3303","在用","刘瑾","是","建议报废"]
[50,53,"氮气钢瓶","2014.10","不详","功能高分子与有机化学研究一室","西辅楼3303","在用","刘瑾","是","建议报废"]
[51,54,"氮气钢瓶","不详","不详","功能高分子与有机化学研究一室","西辅楼3303","在用","刘瑾","是","建议报废"]
[52,55,"氩气钢瓶","不详","不详","功能高分子与有机化学研究一室","西辅楼3303","在用","刘瑾","否","建议报废"]
[53,56,"氮气钢瓶",2013.8,"不详","功能高分子与有机化学研究一室","西辅楼3303","在用","刘瑾","否","建议报废"]
[54,57,"氮气钢瓶","不详","不详","功能高分子与有机化学研究一室","西辅楼3303","在用","刘瑾","否","建议报废"]
[55,58,"氧气钢瓶",2014.5,"不详","功能高分子与有机化学研究一室","西辅楼3303","在用","胡先海","是","建议报废"]
[56,59,"氧气钢瓶",2013.11,2013.12,"功能高分子与有机化学研究一室","西辅楼3303","在用","胡先海","否","建议报废"]
[57,60,"空气钢瓶",2015.12,"不详","功能高分子与有机化学研究一室","西辅楼3303","在用","张峰君","是","建议报废"]
[58,61,"氮气钢瓶",2013.11,"不详","功能高分子与有机化学研究一室","西辅楼3303","在用","张峰君","是","建议报废"]
[59,62,"氮气钢瓶","不详",2019.5,"分析测试中心","西辅楼3103","在用","王爱国","是","建议报废"]
[60,65,"氮气钢瓶",2009,2019.2,"仪器分析实验室","理化楼C509","在用","覃忠琼","是","建议报废"]
[61,66,"氮气钢瓶","不详",2019.2,"仪器分析实验室","理化楼C509","在用","覃忠琼","是","建议报废"]
[62,67,"氮气钢瓶",2002,"不详","材料实验中心","理化楼C509","报废","覃忠琼","否","报废"]
[63,68,"氮气钢瓶","不详","不详","材料实验中心","理化楼C509","报废","覃忠琼","否","报废"]
[64,69,"氮气钢瓶","不详","不详","材料实验中心","理化楼C509","报废","覃忠琼","否","报废"]
[65,70,"氮气钢瓶","不详","不详","材料实验中心","理化楼C509","报废","覃忠琼","否","报废"]
[66,71,"氮气钢瓶","不详","不详","材料实验中心","理化楼C509","报废","覃忠琼","否","报废"]
[67,72,"氮气钢瓶","不详","不详","材料实验中心","理化楼C509","报废","覃忠琼","否","报废"]
[68,73,"氮气钢瓶",2016.11,2018.5,"教授研究室","理化楼C507","在用","王献彪","是","建议报废"]
[69,74,"氩气钢瓶",2015.4,2017.11,"教授研究室","理化楼C507","在用","王献彪","是","建议报废"]
[70,75,"液氨钢瓶",2014.8,2017.11,"教授研究室","理化楼C507","在用","王献彪","是","建议报废"]
[71,76,"氦气钢瓶",2017.7,2018.11,"结构与形貌分析室","西辅楼3102","在用","吴修胜","是"]
[72,77,"氦气钢瓶",2017.7,2018.11,"结构与形貌分析室","西辅楼3102","在用","吴修胜","是"]
[73,78,"氮气钢瓶",2016.2,2019.3,"组成和性能分析室","西辅楼3103","在用","吴修胜","是","建议报废"]
[74,79,"氧气钢瓶",2015.6,2019.1,"组成和性能分析室","西辅楼3103","在用","吴修胜","是","建议报废"]
[75,80,"氩甲烷混合气钢瓶",2016.3,2018.8,"光谱综合分析室","西辅楼3106","在用","吴修胜","是","建议报废"]
[76,81,"甲烷钢瓶",2010.9,2010.9,"环境与能源物理化学研究室","西辅楼3201","在用","冯绍杰","是","建议报废"]
[77,82,"氮气钢瓶",2012.3,2012.8,"环境与能源物理化学研究室","西辅楼3201","在用","冯绍杰","是","建议报废"]
[78,83,"氮气钢瓶",2016.2,2019.6,"环境与能源物理化学研究室","西辅楼3201","在用","冯绍杰","是","建议报废"]
[79,84,"氢气钢瓶",2012.2,2017.1,"环境与能源物理化学研究室","西辅楼3201","在用","冯绍杰","是","建议报废"]
[80,85,"氢气钢瓶",2015.5,"不详","环境与能源物理化学研究室","西辅楼3201","在用","冯绍杰","是","建议报废"]
[81,86,"氢气钢瓶",2006.7,2015.11,"环境与能源物理化学研究室","西辅楼3201","在用","冯绍杰","是","建议报废"]
[82,87,"氧气钢瓶",2009.7,2009.7,"环境与能源物理化学研究室","西辅楼3201","在用","冯绍杰","是","建议报废"]
[83,88,"氧气钢瓶",2014.8,2018.5,"环境与能源物理化学研究室","西辅楼3201","在用","冯绍杰","是","建议报废"]
[84,89,"空气钢瓶",2004.3,"不详","环境与能源物理化学研究室","西辅楼3201","报废","冯绍杰","是","报废"]
[85,91,"氦气钢瓶",2012.1,2013.2,"环境与能源物理化学研究室","西辅楼3201","在用","冯绍杰","是","建议报废"]
[86,92,"氩气钢瓶",2006.3,2015.2,"环境与能源物理化学研究室","西辅楼3201","在用","冯绍杰","是","建议报废"]
[87,93,"氩气钢瓶",2007.7,2015.2,"环境与能源物理化学研究室","西辅楼3201","在用","冯绍杰","是","建议报废"]
[88,94,"氮气钢瓶",2016.7,"不详","高分子加工实验室","理化楼C105","报废","徐文总","否","报废"]
[89,95,"氮气钢瓶",2014.4,"不详","高分子加工实验室","理化楼C105","报废","徐文总","否","报废"]
[90,96,"氮气钢瓶",2017.5,"不详","高分子加工实验室","理化楼C105","报废","徐文总","否","报废"]
[91,97,"氮气钢瓶",2016.12,2019.5,"高分子加工实验室","理化楼C105","在用","徐文总","是","建议报废"]
[92,98,"氮气钢瓶","不详",2019.1,"高分子加工实验室","理化楼C105","在用","徐文总","是","建议报废"]
[93,99,"氮气钢瓶","不详",2019.3,"高分子加工实验室","理化楼C105","在用","徐文总","是","建议报废"]
[94,100,"空气钢瓶","不详",2019.1,"高分子加工实验室","理化楼C105","在用","徐文总","是","建议报废"]
[95,101,"氧气钢瓶",2017.3,2019.5,"高分子加工实验室","理化楼C105","在用","徐文总","是"]
[96,102,"氧气钢瓶",2018.6,2019.1,"高分子加工实验室","理化楼C105","在用","徐文总","是"]
[97,103,"甲烷钢瓶",2015.7,2019.1,"高分子加工实验室","理化楼C105","在用","徐文总","是","建议报废"]
[98,104,"甲烷钢瓶",2018.7,2018.11,"高分子加工实验室","理化楼C105","在用","徐文总","是"]
[99,105,"丙烷钢瓶",2013,"不详","高分子加工实验室","理化楼C105","在用","徐文总","是","建议报废"]
[100,106,"氮气钢瓶","2015.10",2018.1,"高分子加工实验室","理化楼C107","在用","徐文总","是","建议报废"]
[101,107,"氮气钢瓶","不详","不详","高分子加工实验室","西辅楼3304","在用","徐文总","是","建议报废"]
[102,108,"氮气钢瓶","不详","不详","高分子加工实验室","西辅楼3304","在用","徐文总","是","建议报废"]
[103,109,"氧气钢瓶",2013.11,"不详","高分子加工实验室","西辅楼3304","在用","徐文总","是","建议报废"]
[104,110,"乙烯钢瓶",2012.11,"不详","高分子加工实验室","西辅楼3304","在用","徐文总","是","建议报废"]
[105,111,"氮气钢瓶",2010.2,2010.3,"高分子加工实验室","西辅楼3103","在用","徐文总","是","建议报废"]
[106,112,"空气钢瓶",2018.3,2019.1,"高分子加工实验室","西辅楼3103","在用","徐文总","是"]
[107,113,"氦气钢瓶",2016,"不详","高分子加工实验室","西辅楼3103","在用","徐文总","是","建议报废"]
[108,114,"氮气钢瓶",2010.01,"2014.10","无机材料与合成化学研究室（1）","西辅楼3203","在用","胡寒梅","是","建议报废"]
[109,115,"氩气钢瓶",2010.03,2012.05,"无机材料与合成化学研究室（1）","西辅楼3203","在用","胡寒梅","是","建议报废"]
[110,116,"氧气钢瓶",2016.11,"2017.10","材料物理性能","机电北楼1310","正常","吴修胜","是","建议报废"]
[111,117,"氧气钢瓶",2015.4,"2017.10","材料物理性能","机电北楼1310","正常","吴修胜","是","建议报废"]
[112,118,"氮气钢瓶",2017.6,2017.8,"材料物理性能","机电北楼1310","正常","吴修胜","是"]
[113,119,"氮气钢瓶",2017.6,2017.8,"材料物理性能","机电北楼1310","正常","吴修胜","是"]
[114,120,"氩气钢瓶",2011.8,2014.6,"材料科学与工程放开实验室","机电北楼1305","报废","徐海燕","是","报废"]
[115,122,"氮气钢瓶",{"v":2014.1,"d":"2014.10"},"不详","土木工程材料","土木楼一楼高温室","正常","徐海燕","是","建议报废"]
[116,123,"氢气钢瓶",2010.8,2016.4,"分析测试中心","西辅楼3106","正常","李真","是","建议报废"]
[117,124,"氢气钢瓶",{"v":2013.1,"d":"2013.10"},2013.12,"分析测试中心","西辅楼3106","正常","李真","是","建议报废"]
[118,125,"氩气钢瓶","不详","不详","分析测试中心","西辅楼3106","正常","李真","是","建议报废"]
[119,126,"氮气钢瓶",2012.4,"不详","分析测试中心","西辅楼3103","正常","李真","是","建议报废"]
[120,127,"氮气钢瓶","不详","不详","分析测试中心","西辅楼3106","正常","李真","是","建议报废"]
[121,128,"氧气钢瓶","不详",2007.4,"分析测试中心","理化楼C401","正常","李真","是","建议报废"]
[122,129,"氮气钢瓶",2008.6,"不详","分析测试中心","理化楼C401","正常","李真","是","建议报废"]
[123,130,"氮气钢瓶","不详","不详","分析测试中心","理化楼C403","正常","李真","是","建议报废"]
[124,131,"氮气钢瓶","不详","不详","分析测试中心","理化楼C403","正常","李真","是","建议报废"]
[125,132,"氮气钢瓶",2011,"不详","分析测试中心","理化楼C407","正常","李真","是","建议报废"]
[126,133,"氮气钢瓶",2019.4,2019.5,"无机材料与合成化学研究室（1）","西辅楼3203","在用","徐海燕","是"]
[127,134,"二氧化碳",2016.5,2018.8,"过程制造与检测实验室",1107,"正常","张舒","是","建议报废"]
[128,135,"气体钢瓶",2010.3,"不详","建筑能效控制与评估教育部工程研究中心","北区A楼201","停用","程海峰","否","报废"]
[129,136,"高纯氮","2015.10","不详","环境监测实验室","理化楼H203","在用","王莉","否","建议报废"]
[130,137,"高纯氮",2012.8,"不详","环境监测实验室","理化楼H203","在用","王莉","否","建议报废"]
[131,138,"氢气钢瓶","不详","不详","环境监测实验室","理化楼H203","在用","王莉","是","建议报废"]
[132,139,"高纯氩气","不详","不详","环境监测实验室","理化楼H203","在用","伍昌年","是","建议报废"]
[133,140,"原子吸收乙炔钢瓶","不详",2017.3,"环境监测实验室","理化楼H203","在用","伍昌年","是","建议报废"]
[134,144,"SO2钢瓶","不详","不详","环境污染治理实验室","理化楼H202","在用","李国莲","否","建议报废"]
[135,145,"SO2钢瓶","不详","不详","环境污染治理实验室","理化楼H202","在用","李国莲","否","建议报废"]
[136,159,"氦气钢瓶",2016.2,2016.4,"分析测试中心","西辅楼3103","在用","瞿其曙","是","建议报废"]
[137,160,"氩气钢瓶",2009.8,2010.11,"分析测试中心","西辅楼3103","在用","孔维丽","是","建议报废"]
[138,161,"氮气钢瓶","不详",2007.8,"分析测试中心","西辅楼3103","在用","李真","是","建议报废"]
[139,162,"氮气钢瓶","2013.10",2018.3,"分析测试中心","西辅楼3106","在用","李真","是","建议报废"]
[140,163,"氦气钢瓶",2015,2017,"分析测试中心","西辅楼3106","在用","李真","否（小钢瓶）","建议报废"]
[141,164,"氮气钢瓶","2011.10","不详","分析测试中心","西辅楼3103","在用","李真","是","建议报废"]
[142,165,"氮气钢瓶",2018.2,2019.1,"分析测试中心","西辅楼3103","在用","瞿其曙","是"]
[143,166,"氦气钢瓶",2016.3,2017.3,"分析测试中心","西辅楼3106","在用","李真","否","建议报废"]
[144,167,"氩甲烷混合气钢瓶",2009.9,2010,"分析测试中心","西辅楼3106","在用","吴修胜","是","建议报废"]
[145,168,"氩气钢瓶",2013.9,"不详","分析测试中心","西辅楼3106","报废",null,"否","报废"]
[146,169,"乙炔钢瓶",2014.9,"不详","分析测试中心","西辅楼3106","在用","谢发之","是","建议报废"]
[147,170,"氧气钢瓶",2018.4,"不详","分析测试中心","西辅楼3106","在用","谢发之","是"]
[148,171,"二氧化碳钢瓶",2015.9,2018,"分析测试中心","西辅楼3106","在用","张俊","是","建议报废"]
[149,172,"氨气钢瓶",2013.1,2019.5,"环境与能源物理化学研究室","西辅楼3201","在用","苏秦","是","建议报废"]
[150,173,"氮气气瓶",2015.12,"不详","环境与能源物理化学研究室","西辅楼3201","在用","冯绍杰","是","建议报废"]
[151,174,"二氧化碳钢瓶",2016.3,"不详","环境与能源物理化学研究室","西辅楼3201","在用","苏秦","是","建议报废"]
[152,175,"氢气钢瓶",2004.6,"不详","环境与能源物理化学研究室","西辅楼3201","在用","冯绍杰","是","建议报废"]
[153,176,"氢气钢瓶",2009,"不详","环境与能源物理化学研究室","西辅楼3201","在用","冯绍杰","是","建议报废"]
[154,177,"氧气钢瓶","不详","不详","环境与能源物理化学研究室","西辅楼3201","未在用","冯绍杰","是","报废"]
[155,178,"氮气钢瓶",2009.11,2010.3,"环境与能源物理化学研究室","西辅楼3201","在用","李菲菲","是","建议报废"]
[156,179,"氩气气瓶","不详","不详","功能高分子与有机化学研究一室","西辅楼3303","在用","赵青春","是","建议报废"]
[157,180,"一氧化碳+氩气钢瓶",2011.6,"不详","功能高分子与有机化学研究一室","西辅楼3303","在用","刘瑾","是","建议报废"]
[158,182,"空气钢瓶",2015.7,"不详","功能高分子与有机化学研究一室","西辅楼3303","在用","张峰君","是","建议报废"]
[159,183,"氨气+氩气钢瓶",2011.2,"不详","功能高分子与有机化学研究一室","西辅楼3303","在用","刘瑾","是","建议报废"]
[160,184,"气瓶（气体不详）","不详","不详","功能高分子与有机化学研究一室","西辅楼3303","未在用",null,null,"报废"]
[161,185,"氮气气瓶","不详","不详","功能高分子与有机化学研究一室","西辅楼3303","在用","刘瑾","是","建议报废"]
[162,187,"氮气钢瓶",2012.11,"不详","功能高分子与有机化学研究三室","西辅楼3305","在用","金杰","是","建议报废"]
[163,188,"氮气钢瓶","不详","不详","功能高分子与有机化学研究三室","西辅楼3305","在用","金杰","是","建议报废"]
[164,189,"氮气钢瓶",2015.3,"不详","应用分析化学研究室","西辅楼3306","在用","张俊","是","建议报废"]
[165,190,"氮气钢瓶","2015.10","不详","应用分析化学研究室","西辅楼3306","在用","邹文生","是","建议报废"]
[166,191,"氮气钢瓶",2015.12,"不详","水污染控制重点实验室","西辅楼3401","在用","黄健","是","建议报废"]
[167,192,"氮气钢瓶",2015.1,"不详","水污染控制重点实验室","西辅楼3406","在用","王莉","是","建议报废"]
[168,193,"气瓶（不详）",2015.3,"不详","水污染控制重点实验室","西辅楼3406","在用","王莉","是","建议报废"]
[169,194,"CO2气瓶",2012.6,"不详","水污染控制重点实验室","西辅楼3406","在用","王莉","是","建议报废"]
[170,195,"CO2气瓶",2017.2,"不详","水污染控制重点实验室","西辅楼3406","在用","王莉","是"]
[171,196,"氮气钢瓶",2015.7,"不详","水污染控制重点实验室","西辅楼3507","在用","伍昌年、李卫华","是","建议报废"]
[172,197,"氮气钢瓶",2011.8,"不详","水污染控制重点实验室","西辅楼3507","在用","伍昌年、李卫华","是","建议报废"]
[173,198,"高纯氩钢瓶",2013.1,"不详","水污染控制重点实验室","西辅楼3504","在用","伍昌年","是","建议报废"]
[174,199,"高纯氩钢瓶",2018.4,"不详","水污染控制重点实验室","西辅楼3504","在用","伍昌年","是"]
[175,200,"高纯氩钢瓶",2016.2,"不详","水污染控制重点实验室","西辅楼3504","在用","伍昌年","是","建议报废"]
[176,201,"高纯氮钢瓶",2015.12,"不详","水污染控制重点实验室","西辅楼3504","在用","伍昌年","是","建议报废"]
[177,202,"高纯氧钢瓶","不详",2017,"水污染控制重点实验室","西辅楼3504","在用","伍昌年","是","建议报废"]
[178,203,"高纯氧钢瓶","不详",2017,"水污染控制重点实验室","西辅楼3504","在用","伍昌年","是","建议报废"]
[179,204,"高纯氩钢瓶",2015,"不详","水污染控制重点实验室","西辅楼3504","在用","伍昌年","是","建议报废"]
[180,205,"高纯氩钢瓶",2019.2,"不详","水污染控制重点实验室","西辅楼3504","在用","伍昌年","是"]
[181,206,"高纯氩钢瓶",2019.5,"不详","水污染控制重点实验室","西辅楼3504","在用","伍昌年","是"]
[182,207,"高纯氩钢瓶",2019.5,"不详","水污染控制重点实验室","西辅楼3504","在用","伍昌年","是"]
[183,208,"高纯氩钢瓶",2016.5,"不详","水污染控制重点实验室","西辅楼3504","在用","伍昌年","是","建议报废"]
[184,209,"高纯氩钢瓶",2016.5,"不详","水污染控制重点实验室","西辅楼3504","在用","伍昌年","是","建议报废"]
[185,210,"高纯氩钢瓶",2016.2,"不详","水污染控制重点实验室","西辅楼3504","在用","伍昌年","是","建议报废"]
[186,211,"氢气钢瓶",2011.1,2012,"水污染控制重点实验室","西辅楼3503","在用","李卫华","是","建议报废"]
[187,212,"氮气钢瓶",2017.4,"不详","水污染控制重点实验室","西辅楼3503","在用","李卫华","是"]
[188,213,"氮气钢瓶",2013.11,"不详","水污染控制重点实验室","西辅楼3503","在用","李卫华","是","建议报废"]
[189,214,"氦气钢瓶",2014.9,"不详","水污染控制重点实验室","西辅楼3503","在用","李卫华","是","建议报废"]
[190,215,"氢气钢瓶",2013.4,"不详","水污染控制重点实验室","西辅楼3503","在用","李卫华","是","建议报废"]
[191,216,"氮气钢瓶",2012,"不详","水污染控制重点实验室","西辅楼3503","在用","李卫华","是","建议报废"]
[192,217,"氢气钢瓶",2011.8,"不详","水污染控制重点实验室","西辅楼3503","在用","李卫华","是","建议报废"]
[193,218,"高纯氮钢瓶","不详","不详","水污染控制重点实验室","西辅楼3503","在用","李卫华","是","建议报废"]
[194,219,"高纯氮钢瓶",2009.9,"不详","水污染控制重点实验室","西辅楼3503","在用","李卫华","是","建议报废"]
[195,220,"氦气钢瓶",2016.3,"不详","水污染控制重点实验室","西辅楼3503","在用","李卫华","是","建议报废"]
[196,221,"CO2气瓶",2011.11,"不详","水污染控制重点实验室","西辅楼3501","在用","唐建设","是","建议报废"]
[197,222,"氩气钢瓶","2012.10",2017.4,"水污染控制重点实验室","西辅楼3501","在用","唐建设","是","建议报废"]
[198,223,"高纯氮钢瓶",2014.5,"不详","水污染控制重点实验室","西辅楼3501","在用","唐建设","是","建议报废"]
[199,224,"乙炔钢瓶",2018.3,2018.3,"水污染控制重点实验室","西辅楼3501","在用","唐建设","是"]
[200,225,"氨气钢瓶",2015.7,"不详","环境污染治理实验室","理化楼H202","在用","李国莲","是","建议报废"]
[201,226,"CO2气瓶",2009.9,2012.9,"环境污染治理实验室","理化楼H202","在用","李国莲","是","建议报废"]
[202,227,"CO2气瓶",2011.11,2012.9,"环境污染治理实验室","理化楼H202","在用","李国莲","是","建议报废"]
[203,228,"气体钢瓶","不详",200408,"功能材料研究中心","储存室","废弃",null,"否","报废"]
[204,229,"气体钢瓶","不详",200406,"功能材料研究中心","储存室","废弃",null,"否","报废"]
[205,230,"压缩气体钢瓶","不详",200406,"功能材料研究中心","储存室","废弃",null,"否","报废"]
[206,231,"压缩气体钢瓶","不详",200408,"功能材料研究中心","储存室","废弃",null,"否","报废"]
[207,232,"压缩气体钢瓶","不详",200406,"功能材料研究中心","储存室","废弃",null,"否","报废"]
[208,233,"气体钢瓶","不详",200406,"功能材料研究中心","储存室","废弃",null,"否","报废"]
[209,234,"气体钢瓶","不详","不详","功能材料研究中心","储存室","废弃",null,"否","报废"]
[210,235,"氩氢混合气",2014.8,2015.6,"功能材料研究中心","推板式隧道烧结室","使用","李栋才","否","建议报废"]
[211,236,"高纯氮",2014.9,2015.6,"功能材料研究中心","推板式隧道烧结室","使用","李栋才","否","建议报废"]
[212,237,"高纯氧",2014.4,"不详","功能材料研究中心","推板式隧道烧结室","使用","李栋才","否","建议报废"]
[213,238,"氨气钢瓶",2014,"不详","功能材料研究中心","推板式隧道烧结室","使用","李栋才","否","建议报废"]
[214,239,"CO2气瓶","不详","不详","功能材料研究中心","D107耐久性研究室","使用",null,"否","建议报废"]
[215,240,"气体钢瓶","不详","不详","建筑能效控制与评估教育部工程研究中心","北区A楼201","停用","程海峰","否","报废"]

{"sheet":"兼容性报表","index":1,"n_rows":8,"n_cols":5,"rows_kept":8,"flags":["formulas_cached_only"]}
[null,"安徽建筑大学实验室气体钢瓶风险排查清单王雅整理2019.7.17.xls 兼容性报表"]
[null,"运行环境: 2019-7-18 18:21"]
[]
[null,"因为 Excel 2007 之前的 Excel 版本不支持此工作簿中的某些功能，如果以此格式保存，则这些功能将丢失或降级。"]
[]
[null,"轻微保真损失",null,null,"发生次数"]
[]
[null,"所选文件格式不支持此工作簿中某些单元格或样式包含的格式。这些格式将被转换为最相近的可用格式。",null,null,38]